## BM ca ngày
CÔNG TY CP FSC VIỆT NAM
NMSX
BẢNG THEO DÕI CHỈ SỐ ĐIỆN CÔNG ĐOẠN CHẾ BIẾN DĂM
Ca SX: …………. Từ ……. Giờ …………. Phút ngày …………………. Đến ………… giờ ………….. Phút ngày………………..
I. Phạm vi thiết bị công đoạn chế biến dăm.
1.TRẠM TR11: 1000KVA-22KV/0.69KV bao gồm các đồng hồ:
- Tủ điều khiển motor băm 1220MC01
2.Trạm TR12: 2000KVA-22KV/0.38KV bao gồm các đồng hồ:
- Tủ điều khiển dây chuyền băm củi keo 1300MC01
- Tủ điều khiển dây chuyền bóc vỏ cây 1000MC01
- Tủ điều khiển dây chuyền máy băm và băng tải cấp dăm vào kho 1200MC01
- Tủ điều khiển dây chuyền xử lý vỏ cây 1900MC01
- Tủ cấp nguồn cầu trục nhà xưởng
- Cấp nguồn cho UPS (Tủ 1000PLC01)
- Máy lạnh, CS xưởng
II. Cách tính giờ cao điểm.
1.Từ thứ 2 đến thứ 7
- Giờ cao điểm (CĐ): từ 9h30 - 11h30, 17h00 - 20h00
- Giờ thấp điểm (TĐ): từ 22h00 - 4h00
- Giờ bình thường (BT): từ 4h00 - 9h30, 11h30 - 17h00, 20h00 - 22h00
2.Ngày chủ nhật
- Giờ cao điểm (CĐ): không có giờ cao điểm
- Giờ thấp điểm (TĐ): từ 22h00 - 4h00
- Giờ bình thường (BT): từ 4h00 - 22h00
3.Thời gian tổ chức của ca sản xuất cụm chế biến dăm
- Ca SX A: 7h00 - 17h00
- Ca SX B: 20h00 - 6h00
III. Danh mục chốt chỉ số các đồng hồ điện thuộc cụm chế biến dăm
STT | Thông tin vị trí sử dụng | Phòng điện | Vị trí đặt đồng hồ điện | Tên thiết bị sử dụng lắp đồng hồ | Giờ | Hệ số đồng hồ | Lần chốt 1 |  |  | Lần chốt 2 |  |  | Lần chốt 3 |  |  | Lần chốt 4 |  |  | Tổng số điện sử dụng (KWh)
[7 empty] | 6h00'(kế thừa ca tối) - 9h30' |  |  | 9h30' - 11h30' |  |  | 11h30' - 17h00' |  |  | 17h00-18h00
[7 empty] | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh)
[6 empty] | (1) | (2) | (3) | (4)=(3)-(2) | (5) | (6) | (7)=(6)-(5) | (8) | (9) | (10)=(9)-(8) | (11) | (12) | (13)=(12)-(11) | (14)=(1)*(4+7+10+ 13)
1 | TRẠM TR11: 1000KVA-22KV/0.69KV | TR01&02 | Tủ LV11 | Đồng hồ đo tổng tủ điện máy băm | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
2 | TRẠM TR12: 2000KVA-22KV/0.38KV | TR01&02 | Tủ LV12 | Đồng hồ đo tổng tủ điện khu vực chế biến dăm | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  | TR12 | Tủ Điện mặt trời | NLX Kim Tín 05-VP | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[17 empty] | Tổng số điện giờ CĐ (14*) |  | 0
[17 empty] | Tổng số điện giờ TĐ (14*) |  | 0
[17 empty] | Tổng số điện giờ BT (14*) |  | 0
[17 empty] | Tổng số điện |  | 0
IV. Danh mục chốt chỉ số các đồng hồ điện không thuộc cụm chế biến dăm ( nguồn điện đang dùng chung với cụm chế biến dăm của công đoạn BTP và điện dùng chung).
STT | Thông tin vị trí sử dụng | Phòng điện | Vị trí đặt đồng hồ điện | Tên thiết bị sử dụng lắp đồng hồ | Giờ | Hệ số đồng hồ | Lần chốt 1 |  |  | Lần chốt 2 |  |  | Lần chốt 3 |  |  | Lần chốt 4 |  |  | Tổng số điện sử dụng (KWh)
[7 empty] | 6h00'(kế thừa ca tối) - 9h30' |  |  | 9h30' - 11h30' |  |  | 11h30' - 17h00' |  |  | 17h00-18h00
[7 empty] | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh)
[6 empty] | (1) | (2) | (3) | (4)=(3)-(2) | (5) | (6) | (7)=(6)-(5) | (8) | (9) | (10)=(9)-(8) | (11) | (12) | (13)=(12)-(11) | (15)=(1)*(4+7+10+13)
1 | TRẠM TR12: 2000KVA-22KV/0.38KV | SR01&02 | Tủ LV 12 | Tủ điều khiển kho chứa dăm và băng tải cấp dăm lên hệ thống rửa dăm 2100MC01 & 2100MC02 | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Tủ điều khiển hệ thống xử lý nước trung tâm | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Tủ nguồn bảo trì + C/S các phòng chức năng + C/S xưởng | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Tủ phân phối tổng khu vực bơm cấp nước thiết bị, PCCC thiết bị và PCCC nhà xưởng | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Tủ điện nhà văn phòng + căn tin | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Chiếu sáng an ninh sân đường nhà xưởng chính | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Tủ nguồn ưu tiên: UTB1,2,3, UTPL, UTCG | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Cấp nguồn tổng các tủ: - Trụ đèn CS 15 mét, bơm nước tưới cây - Nguồn cấp khu bảo vệ cổng chính - Chiếu sáng nhà xe ô tô + Tủ UT mài dao ( không công tơ ) - Chiếu sáng phòng vận hành SR01&02 | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | Tổng số điện sử dụng cho công đoạn BTP |  |  |  |  | Giờ | Tổng số điện sử dụng (KWh)
(16)
[13 empty] | Tổng sô điện sử dụng ( chi phí BTP): 1. Tủ điều khiển kho chứa dăm và băng tải cấp dăm lên hệ thống rửa dăm 2100MC01 & 2100MC02 2.Tủ điều khiển hệ thống xử lý nước trung tâm 3.Tủ nguồn UTCĐ, tủ chiếu sáng văn phòng xưởng, chiếu sáng nhà xưởng, thiết bị lạnh các phòng điện. |  |  |  |  | CĐ | 0
[18 empty] | TĐ | 0
[18 empty] | BT | 0
[17 empty] | Tổng số điện giờ CĐ (16*) |  | 0
[17 empty] | Tổng số điện giờ TĐ (16*) |  | 0
[17 empty] | Tổng số điện giờ BT (16*) |  | 0
[17 empty] | Tổng số điện |  | 0
[13 empty] | Tổng số điện sử dụng cho chi phí điện dùng chung ( công ty) |  |  |  |  | Giờ | Tổng số điện sử dụng (KWh)
(17)
[13 empty] | Tổng sô điện sử dụng (chi phí dùng chung): 1.Tủ điện nhà văn phòng + căn tin 2.Chiếu sáng an ninh sân đường nhà xưởng chính 3.Tủ nguồn ưu tiên: UTB1,2,3, UTPL, UTCG 4.Cấp nguồn tổng các tủ: - Trụ đèn CS 15 mét, bơm nước tưới cây - Nguồn cấp khu bảo vệ cổng chính - Chiếu sáng nhà xe ô tô + Tủ UT mài dao ( không công tơ ) - Chiếu sáng phòng vận hành SR01&02 5.Tủ phân phối tổng khu vực bơm cấp nước thiết bị, PCCC thiết bị và PCCC nhà xưởng |  |  |  |  | CĐ | 0
[18 empty] | TĐ | 0
[18 empty] | BT | 0
[17 empty] | Tổng số điện giờ CĐ (17*) |  | 0
[17 empty] | Tổng số điện giờ TĐ (17*) |  | 0
[17 empty] | Tổng số điện giờ BT (17*) |  | 0
[17 empty] | Tổng số điện |  | 0
V. Tổng số điện sử dụng cho SX công đoạn chế biến dăm
STT | Tổng số điện | Giờ | Chỉ số điện sử dụng (KWh) (***) |  | Ghi chú
1 | Tổng số điện sử dụng cho cụm thiết bị chế biến dăm | CĐ | 0 |  | Tổng số điện giờ CĐ (***) = Tổng số điện giờ CĐ (14*) - Tổng số điện giờ CĐ (16*) - Tổng số điện giờ CĐ (17*)
|  | TĐ | 0 |  | Tổng số điện giờ TĐ (***) = Tổng số điện giờ TĐ (14*) - Tổng số điện giờ TĐ (16*) - Tổng số điện giờ TĐ (17*)
|  | BT | 0 |  | Tổng số điện giờ BT (***) = Tổng số điện giờ BT (14*) - Tổng số điện giờ BT (16*) - Tổng số điện giờ BT (17*)
2 | Tổng số điện sử dụng |  | 0
Bình Phước, ngày ……. Tháng …… năm ……..
Người theo dõi
Note on H33: (DAM_1_0_PEAK)
Note on I33: (DAM_1_1_PEAK)
Note on K33: (DAM_1_2_PEAK)
Note on L33: (DAM_1_3_PEAK)
Note on N33: (DAM_1_4_PEAK)
Note on O33: (DAM_1_5_PEAK)
Note on Q33: (DAM_1_6_PEAK)
Note on R33: (DAM_1_7_PEAK)
Note on U33: (SUM_SPECIFIC_1)
Note on H34: (DAM_1_0_OFFPEAK)
Note on I34: (DAM_1_1_OFFPEAK)
Note on K34: (DAM_1_2_OFFPEAK)
Note on L34: (DAM_1_3_OFFPEAK)
Note on N34: (DAM_1_4_OFFPEAK)
Note on O34: (DAM_1_5_OFFPEAK)
Note on Q34: (DAM_1_6_OFFPEAK)
Note on R34: (DAM_1_7_OFFPEAK)
Note on H35: (DAM_1_0_STANDARD)
Note on I35: (DAM_1_1_STANDARD)
Note on K35: (DAM_1_2_STANDARD)
Note on L35: (DAM_1_3_STANDARD)
Note on N35: (DAM_1_4_STANDARD)
Note on O35: (DAM_1_5_STANDARD)
Note on Q35: (DAM_1_6_STANDARD)
Note on R35: (DAM_1_7_STANDARD)
Note on H36: (DAM_2_0_PEAK)
Note on I36: (DAM_2_1_PEAK)
Note on K36: (DAM_2_2_PEAK)
Note on L36: (DAM_2_3_PEAK)
Note on N36: (DAM_2_4_PEAK)
Note on O36: (DAM_2_5_PEAK)
Note on Q36: (DAM_2_6_PEAK)
Note on R36: (DAM_2_7_PEAK)
Note on U36: (SUM_SPECIFIC_2)
Note on H37: (DAM_2_0_OFFPEAK)
Note on I37: (DAM_2_1_OFFPEAK)
Note on K37: (DAM_2_2_OFFPEAK)
Note on L37: (DAM_2_3_OFFPEAK)
Note on N37: (DAM_2_4_OFFPEAK)
Note on O37: (DAM_2_5_OFFPEAK)
Note on Q37: (DAM_2_6_OFFPEAK)
Note on R37: (DAM_2_7_OFFPEAK)
Note on H38: (DAM_2_0_STANDARD)
Note on I38: (DAM_2_1_STANDARD)
Note on K38: (DAM_2_2_STANDARD)
Note on L38: (DAM_2_3_STANDARD)
Note on N38: (DAM_2_4_STANDARD)
Note on O38: (DAM_2_5_STANDARD)
Note on Q38: (DAM_2_6_STANDARD)
Note on R38: (DAM_2_7_STANDARD)
Note on H39: (DAM_3_0_PEAK)
Note on I39: (DAM_3_1_PEAK)
Note on K39: (DAM_3_2_PEAK)
Note on L39: (DAM_3_3_PEAK)
Note on N39: (DAM_3_4_PEAK)
Note on O39: (DAM_3_5_PEAK)
Note on Q39: (DAM_3_6_PEAK)
Note on R39: (DAM_3_7_PEAK)
Note on U39: (SUM_SPECIFIC_3)
Note on H40: (DAM_3_0_OFFPEAK)
Note on I40: (DAM_3_1_OFFPEAK)
Note on K40: (DAM_3_2_OFFPEAK)
Note on L40: (DAM_3_3_OFFPEAK)
Note on N40: (DAM_3_4_OFFPEAK)
Note on O40: (DAM_3_5_OFFPEAK)
Note on Q40: (DAM_3_6_OFFPEAK)
Note on R40: (DAM_3_7_OFFPEAK)
Note on H41: (DAM_3_0_STANDARD)
Note on I41: (DAM_3_1_STANDARD)
Note on K41: (DAM_3_2_STANDARD)
Note on L41: (DAM_3_3_STANDARD)
Note on N41: (DAM_3_4_STANDARD)
Note on O41: (DAM_3_5_STANDARD)
Note on Q41: (DAM_3_6_STANDARD)
Note on R41: (DAM_3_7_STANDARD)
Note on T45: (SUM_DAM_CATEGORY_1)
Note on H51: (DAM_4_0_PEAK)
Note on I51: (DAM_4_1_PEAK)
Note on K51: (DAM_4_2_PEAK)
Note on L51: (DAM_4_3_PEAK)
Note on N51: (DAM_4_4_PEAK)
Note on O51: (DAM_4_5_PEAK)
Note on Q51: (DAM_4_6_PEAK)
Note on R51: (DAM_4_7_PEAK)
Note on U51: (SUM_SPECIFIC_4__)
Note on H52: (DAM_4_0_OFFPEAK)
Note on I52: (DAM_4_1_OFFPEAK)
Note on K52: (DAM_4_2_OFFPEAK)
Note on L52: (DAM_4_3_OFFPEAK)
Note on N52: (DAM_4_4_OFFPEAK)
Note on O52: (DAM_4_5_OFFPEAK)
Note on Q52: (DAM_4_6_OFFPEAK)
Note on R52: (DAM_4_7_OFFPEAK)
Note on H53: (DAM_4_0_STANDARD)
Note on I53: (DAM_4_1_STANDARD)
Note on K53: (DAM_4_2_STANDARD)
Note on L53: (DAM_4_3_STANDARD)
Note on N53: (DAM_4_4_STANDARD)
Note on O53: (DAM_4_5_STANDARD)
Note on Q53: (DAM_4_6_STANDARD)
Note on R53: (DAM_4_7_STANDARD)
Note on H54: (DAM_5_0_PEAK)
Note on I54: (DAM_5_1_PEAK)
Note on K54: (DAM_5_2_PEAK)
Note on L54: (DAM_5_3_PEAK)
Note on N54: (DAM_5_4_PEAK)
Note on O54: (DAM_5_5_PEAK)
Note on Q54: (DAM_5_6_PEAK)
Note on R54: (DAM_5_7_PEAK)
Note on U54: (SUM_SPECIFIC_5__)
Note on H55: (DAM_5_0_OFFPEAK)
Note on I55: (DAM_5_1_OFFPEAK)
Note on K55: (DAM_5_2_OFFPEAK)
Note on L55: (DAM_5_3_OFFPEAK)
Note on N55: (DAM_5_4_OFFPEAK)
Note on O55: (DAM_5_5_OFFPEAK)
Note on Q55: (DAM_5_6_OFFPEAK)
Note on R55: (DAM_5_7_OFFPEAK)
Note on H56: (DAM_5_0_STANDARD)
Note on I56: (DAM_5_1_STANDARD)
Note on K56: (DAM_5_2_STANDARD)
Note on L56: (DAM_5_3_STANDARD)
Note on N56: (DAM_5_4_STANDARD)
Note on O56: (DAM_5_5_STANDARD)
Note on Q56: (DAM_5_6_STANDARD)
Note on R56: (DAM_5_7_STANDARD)
Note on H57: (DAM_6_0_PEAK)
Note on I57: (DAM_6_1_PEAK)
Note on K57: (DAM_6_2_PEAK)
Note on L57: (DAM_6_3_PEAK)
Note on N57: (DAM_6_4_PEAK)
Note on O57: (DAM_6_5_PEAK)
Note on Q57: (DAM_6_6_PEAK)
Note on R57: (DAM_6_7_PEAK)
Note on U57: (SUM_SPECIFIC_6__)
Note on H58: (DAM_6_0_OFFPEAK)
Note on I58: (DAM_6_1_OFFPEAK)
Note on K58: (DAM_6_2_OFFPEAK)
Note on L58: (DAM_6_3_OFFPEAK)
Note on N58: (DAM_6_4_OFFPEAK)
Note on O58: (DAM_6_5_OFFPEAK)
Note on Q58: (DAM_6_6_OFFPEAK)
Note on R58: (DAM_6_7_OFFPEAK)
Note on H59: (DAM_6_0_STANDARD)
Note on I59: (DAM_6_1_STANDARD)
Note on K59: (DAM_6_2_STANDARD)
Note on L59: (DAM_6_3_STANDARD)
Note on N59: (DAM_6_4_STANDARD)
Note on O59: (DAM_6_5_STANDARD)
Note on Q59: (DAM_6_6_STANDARD)
Note on R59: (DAM_6_7_STANDARD)
Note on H60: (DAM_7_0_PEAK)
Note on I60: (DAM_7_1_PEAK)
Note on K60: (DAM_7_2_PEAK)
Note on L60: (DAM_7_3_PEAK)
Note on N60: (DAM_7_4_PEAK)
Note on O60: (DAM_7_5_PEAK)
Note on Q60: (DAM_7_6_PEAK)
Note on R60: (DAM_7_7_PEAK)
Note on U60: (SUM_SPECIFIC_7__)
Note on H61: (DAM_7_0_OFFPEAK)
Note on I61: (DAM_7_1_OFFPEAK)
Note on K61: (DAM_7_2_OFFPEAK)
Note on L61: (DAM_7_3_OFFPEAK)
Note on N61: (DAM_7_4_OFFPEAK)
Note on O61: (DAM_7_5_OFFPEAK)
Note on Q61: (DAM_7_6_OFFPEAK)
Note on R61: (DAM_7_7_OFFPEAK)
Note on H62: (DAM_7_0_STANDARD)
Note on I62: (DAM_7_1_STANDARD)
Note on K62: (DAM_7_2_STANDARD)
Note on L62: (DAM_7_3_STANDARD)
Note on N62: (DAM_7_4_STANDARD)
Note on O62: (DAM_7_5_STANDARD)
Note on Q62: (DAM_7_6_STANDARD)
Note on R62: (DAM_7_7_STANDARD)
Note on H63: (DAM_8_0_PEAK)
Note on I63: (DAM_8_1_PEAK)
Note on K63: (DAM_8_2_PEAK)
Note on L63: (DAM_8_3_PEAK)
Note on N63: (DAM_8_4_PEAK)
Note on O63: (DAM_8_5_PEAK)
Note on Q63: (DAM_8_6_PEAK)
Note on R63: (DAM_8_7_PEAK)
Note on U63: (SUM_SPECIFIC_8__)
Note on H64: (DAM_8_0_OFFPEAK)
Note on I64: (DAM_8_1_OFFPEAK)
Note on K64: (DAM_8_2_OFFPEAK)
Note on L64: (DAM_8_3_OFFPEAK)
Note on N64: (DAM_8_4_OFFPEAK)
Note on O64: (DAM_8_5_OFFPEAK)
Note on Q64: (DAM_8_6_OFFPEAK)
Note on R64: (DAM_8_7_OFFPEAK)
Note on H65: (DAM_8_0_STANDARD)
Note on I65: (DAM_8_1_STANDARD)
Note on K65: (DAM_8_2_STANDARD)
Note on L65: (DAM_8_3_STANDARD)
Note on N65: (DAM_8_4_STANDARD)
Note on O65: (DAM_8_5_STANDARD)
Note on Q65: (DAM_8_6_STANDARD)
Note on R65: (DAM_8_7_STANDARD)
Note on H66: (DAM_9_0_PEAK)
Note on I66: (DAM_9_1_PEAK)
Note on K66: (DAM_9_2_PEAK)
Note on L66: (DAM_9_3_PEAK)
Note on N66: (DAM_9_4_PEAK)
Note on O66: (DAM_9_5_PEAK)
Note on Q66: (DAM_9_6_PEAK)
Note on R66: (DAM_9_7_PEAK)
Note on U66: (SUM_SPECIFIC_9__)
Note on H67: (DAM_9_0_OFFPEAK)
Note on I67: (DAM_9_1_OFFPEAK)
Note on K67: (DAM_9_2_OFFPEAK)
Note on L67: (DAM_9_3_OFFPEAK)
Note on N67: (DAM_9_4_OFFPEAK)
Note on O67: (DAM_9_5_OFFPEAK)
Note on Q67: (DAM_9_6_OFFPEAK)
Note on R67: (DAM_9_7_OFFPEAK)
Note on H68: (DAM_9_0_STANDARD)
Note on I68: (DAM_9_1_STANDARD)
Note on K68: (DAM_9_2_STANDARD)
Note on L68: (DAM_9_3_STANDARD)
Note on N68: (DAM_9_4_STANDARD)
Note on O68: (DAM_9_5_STANDARD)
Note on Q68: (DAM_9_6_STANDARD)
Note on R68: (DAM_9_7_STANDARD)
Note on H69: (DAM_10_0_PEAK)
Note on I69: (DAM_10_1_PEAK)
Note on K69: (DAM_10_2_PEAK)
Note on L69: (DAM_10_3_PEAK)
Note on N69: (DAM_10_4_PEAK)
Note on O69: (DAM_10_5_PEAK)
Note on Q69: (DAM_10_6_PEAK)
Note on R69: (DAM_10_7_PEAK)
Note on U69: (SUM_SPECIFIC_10__)
Note on H70: (DAM_10_0_OFFPEAK)
Note on I70: (DAM_10_1_OFFPEAK)
Note on K70: (DAM_10_2_OFFPEAK)
Note on L70: (DAM_10_3_OFFPEAK)
Note on N70: (DAM_10_4_OFFPEAK)
Note on O70: (DAM_10_5_OFFPEAK)
Note on Q70: (DAM_10_6_OFFPEAK)
Note on R70: (DAM_10_7_OFFPEAK)
Note on H71: (DAM_10_0_STANDARD)
Note on I71: (DAM_10_1_STANDARD)
Note on K71: (DAM_10_2_STANDARD)
Note on L71: (DAM_10_3_STANDARD)
Note on N71: (DAM_10_4_STANDARD)
Note on O71: (DAM_10_5_STANDARD)
Note on Q71: (DAM_10_6_STANDARD)
Note on R71: (DAM_10_7_STANDARD)
Note on H72: (DAM_11_0_PEAK)
Note on I72: (DAM_11_1_PEAK)
Note on K72: (DAM_11_2_PEAK)
Note on L72: (DAM_11_3_PEAK)
Note on N72: (DAM_11_4_PEAK)
Note on O72: (DAM_11_5_PEAK)
Note on Q72: (DAM_11_6_PEAK)
Note on R72: (DAM_11_7_PEAK)
Note on U72: (SUM_SPECIFIC_11__)
Note on H73: (DAM_11_0_OFFPEAK)
Note on I73: (DAM_11_1_OFFPEAK)
Note on K73: (DAM_11_2_OFFPEAK)
Note on L73: (DAM_11_3_OFFPEAK)
Note on N73: (DAM_11_4_OFFPEAK)
Note on O73: (DAM_11_5_OFFPEAK)
Note on Q73: (DAM_11_6_OFFPEAK)
Note on R73: (DAM_11_7_OFFPEAK)
Note on H74: (DAM_11_0_STANDARD)
Note on I74: (DAM_11_1_STANDARD)
Note on K74: (DAM_11_2_STANDARD)
Note on L74: (DAM_11_3_STANDARD)
Note on N74: (DAM_11_4_STANDARD)
Note on O74: (DAM_11_5_STANDARD)
Note on Q74: (DAM_11_6_STANDARD)
Note on R74: (DAM_11_7_STANDARD)
Note on T86: (SUM_DAM_CATEGORY_2.1)
Note on T97: (SUM_DAM_CATEGORY_2.2)
Note on D101: (SUM_PEAK)
Note on D102: (SUM_OFFPEAK)
Note on D103: (SUM_STANDARD)
Note on D104: (SUM_TOTAL)

## BM ca đêm
CÔNG TY CP FSC VIỆT NAM
NMSX
BẢNG THEO DÕI CHỈ SỐ ĐIỆN CÔNG ĐOẠN CHẾ BIẾN DĂM
Ca SX: …………. Từ ……. Giờ …………. Phút ngày …………………. Đến ………… giờ ………….. Phút ngày………………..
I. Phạm vi thiết bị công đoạn chế biến dăm.
1.TRẠM TR11: 1000KVA-22KV/0.69KV bao gồm các đồng hồ:
- Tủ điều khiển motor băm 1220MC01
2.Trạm TR12: 2000KVA-22KV/0.38KV bao gồm các đồng hồ:
- Tủ điều khiển dây chuyền băm củi keo 1300MC01
- Tủ điều khiển dây chuyền bóc vỏ cây 1000MC01
- Tủ điều khiển dây chuyền máy băm và băng tải cấp dăm vào kho 1200MC01
- Tủ điều khiển dây chuyền xử lý vỏ cây 1900MC01
- Tủ cấp nguồn cầu trục nhà xưởng
- Cấp nguồn cho UPS (Tủ 1000PLC01)
- Máy lạnh, CS xưởng
II. Cách tính giờ cao điểm.
1.Từ thứ 2 đến thứ 7
- Giờ cao điểm (CĐ): từ 9h30 - 11h30, 17h00 - 20h00
- Giờ thấp điểm (TĐ): từ 22h00 - 4h00
- Giờ bình thường (BT): từ 4h00 - 9h30, 11h30 - 17h00, 20h00 - 22h00
2.Ngày chủ nhật
- Giờ cao điểm (CĐ): không có giờ cao điểm
- Giờ thấp điểm (TĐ): từ 22h00 - 4h00
- Giờ bình thường (BT): từ 4h00 - 22h00
3.Thời gian tổ chức của ca sản xuất cụm chế biến dăm
- Ca SX A: 7h00 - 17h00
- Ca SX B: 20h00 - 6h00
III. Danh mục chốt chỉ số các đồng hồ điện thuộc cụm chế biến dăm
STT | Thông tin vị trí sử dụng | Phòng điện | Vị trí đặt đồng hồ điện | Tên thiết bị sử dụng lắp đồng hồ | Giờ | Hệ số đồng hồ | Lần chốt 1 |  |  | Lần chốt 2 |  |  | Lần chốt 3 |  |  | Lần chốt 4 |  |  | Tổng số điện sử dụng (KWh)
[7 empty] | 18h00'(kế thừa ca ngày) - 20h00' |  |  | 20h00' - 22h00' |  |  | 22h00' - 4h00' |  |  | 4h00' - 6h00'
[7 empty] | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh)
[6 empty] | (1) | (2) | (3) | (4)=(3)-(2) | (5) | (6) | (7)=(6)-(5) | (8) | (9) | (10)=(9)-(8) | (11) | (12) | (13)=(12)-(11) | (14)=(1)*(4+7+10+ 13)
1 | TRẠM TR11: 1000KVA-22KV/0.69KV | TR01&02 | Tủ LV11 | Đồng hồ đo tổng tủ điện máy băm | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
2 | TRẠM TR12: 2000KVA-22KV/0.38KV | TR01&02 | Tủ LV12 | Đồng hồ đo tổng tủ điện khu vực chế biến dăm | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  | TR12 | Tủ Điện mặt trời | NLX Kim Tín 05-VP | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[17 empty] | Tổng số điện giờ CĐ (14*) |  | 0
[17 empty] | Tổng số điện giờ TĐ (14*) |  | 0
[17 empty] | Tổng số điện giờ BT (14*) |  | 0
[17 empty] | Tổng số điện |  | 0
IV. Danh mục chốt chỉ số các đồng hồ điện không thuộc cụm chế biến dăm ( nguồn điện đang dùng chung với cụm chế biến dăm của công đoạn BTP và điện dùng chung).
STT | Thông tin vị trí sử dụng | Phòng điện | Vị trí đặt đồng hồ điện | Tên thiết bị sử dụng lắp đồng hồ | Giờ | Hệ số đồng hồ | Lần chốt 1 |  |  | Lần chốt 2 |  |  | Lần chốt 3 |  |  | Lần chốt 4 |  |  | Tổng số điện sử dụng (KWh)
[7 empty] | 18h00'(kế thừa ca ngày) - 20h00' |  |  | 20h00' - 22h00' |  |  | 22h00' - 4h00' |  |  | 4h00' - 6h00'
[7 empty] | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh) | Chỉ số cũ | Chỉ số mới | Tổng (KWh)
[6 empty] | (1) | (2) | (3) | (4)=(3)-(2) | (5) | (6) | (7)=(6)-(5) | (8) | (9) | (10)=(9)-(8) | (11) | (12) | (13)=(12)-(11) | (15)=(1)*(4+7+10+13)
1 | TRẠM TR12: 2000KVA-22KV/0.38KV | SR01&02 | Tủ LV 12 | Tủ điều khiển kho chứa dăm và băng tải cấp dăm lên hệ thống rửa dăm 2100MC01 & 2100MC02 | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Tủ điều khiển hệ thống xử lý nước trung tâm | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Tủ nguồn bảo trì + C/S các phòng chức năng + C/S xưởng | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Tủ phân phối tổng khu vực bơm cấp nước thiết bị, PCCC thiết bị và PCCC nhà xưởng | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Tủ điện nhà văn phòng + căn tin | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Chiếu sáng an ninh sân đường nhà xưởng chính | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Tủ nguồn ưu tiên: UTB1,2,3, UTPL, UTCG | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  |  |  | Cấp nguồn tổng các tủ: - Trụ đèn CS 15 mét, bơm nước tưới cây - Nguồn cấp khu bảo vệ cổng chính - Chiếu sáng nhà xe ô tô + Tủ UT mài dao ( không công tơ ) - Chiếu sáng phòng vận hành SR01&02 | CĐ | 1000000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0
[5 empty] | TĐ |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[5 empty] | BT |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | Tổng số điện sử dụng cho công đoạn BTP |  |  |  |  | Giờ | Tổng số điện sử dụng (KWh)
(16)
[13 empty] | Tổng sô điện sử dụng ( chi phí BTP): 1. Tủ điều khiển kho chứa dăm và băng tải cấp dăm lên hệ thống rửa dăm 2100MC01 & 2100MC02 2.Tủ điều khiển hệ thống xử lý nước trung tâm 3.Tủ nguồn UTCĐ, tủ chiếu sáng văn phòng xưởng, chiếu sáng nhà xưởng, thiết bị lạnh các phòng điện. |  |  |  |  | CĐ | 0
[18 empty] | TĐ | 0
[18 empty] | BT | 0
[17 empty] | Tổng số điện giờ CĐ (16*) |  | 0
[17 empty] | Tổng số điện giờ TĐ (16*) |  | 0
[17 empty] | Tổng số điện giờ BT (16*) |  | 0
[17 empty] | Tổng số điện |  | 0
[13 empty] | Tổng số điện sử dụng cho chi phí điện dùng chung ( công ty) |  |  |  |  | Giờ | Tổng số điện sử dụng (KWh)
(17)
[13 empty] | Tổng sô điện sử dụng (chi phí dùng chung): 1.Tủ điện nhà văn phòng + căn tin 2.Chiếu sáng an ninh sân đường nhà xưởng chính 3.Tủ nguồn ưu tiên: UTB1,2,3, UTPL, UTCG 4.Cấp nguồn tổng các tủ: - Trụ đèn CS 15 mét, bơm nước tưới cây - Nguồn cấp khu bảo vệ cổng chính - Chiếu sáng nhà xe ô tô + Tủ UT mài dao ( không công tơ ) - Chiếu sáng phòng vận hành SR01&02 5.Tủ phân phối tổng khu vực bơm cấp nước thiết bị, PCCC thiết bị và PCCC nhà xưởng |  |  |  |  | CĐ | 0
[18 empty] | TĐ | 0
[18 empty] | BT | 0
[17 empty] | Tổng số điện giờ CĐ (17*) |  | 0
[17 empty] | Tổng số điện giờ TĐ (17*) |  | 0
[17 empty] | Tổng số điện giờ BT (17*) |  | 0
[17 empty] | Tổng số điện |  | 0
V. Tổng số điện sử dụng cho SX công đoạn chế biến dăm
STT | Tổng số điện | Giờ | Chỉ số điện sử dụng (KWh) (***) |  | Ghi chú
1 | Tổng số điện sử dụng cho cụm thiết bị chế biến dăm | CĐ | 0 |  | Tổng số điện giờ CĐ (***) = Tổng số điện giờ CĐ (14*) - Tổng số điện giờ CĐ (16*) - Tổng số điện giờ CĐ (17*)
|  | TĐ | 0 |  | Tổng số điện giờ TĐ (***) = Tổng số điện giờ TĐ (14*) - Tổng số điện giờ TĐ (16*) - Tổng số điện giờ TĐ (17*)
|  | BT | 0 |  | Tổng số điện giờ BT (***) = Tổng số điện giờ BT (14*) - Tổng số điện giờ BT (16*) - Tổng số điện giờ BT (17*)
2 | Tổng số điện sử dụng |  | 0
Bình Phước, ngày ……. Tháng …… năm ……..
Người theo dõi
Note on H33: (DAM_1_0_PEAK)
Note on I33: (DAM_1_1_PEAK)
Note on K33: (DAM_1_2_PEAK)
Note on L33: (DAM_1_3_PEAK)
Note on N33: (DAM_1_4_PEAK)
Note on O33: (DAM_1_5_PEAK)
Note on Q33: (DAM_1_6_PEAK)
Note on R33: (DAM_1_7_PEAK)
Note on U33: (SUM_SPECIFIC_1)
Note on H34: (DAM_1_0_OFFPEAK)
Note on I34: (DAM_1_1_OFFPEAK)
Note on K34: (DAM_1_2_OFFPEAK)
Note on L34: (DAM_1_3_OFFPEAK)
Note on N34: (DAM_1_4_OFFPEAK)
Note on O34: (DAM_1_5_OFFPEAK)
Note on Q34: (DAM_1_6_OFFPEAK)
Note on R34: (DAM_1_7_OFFPEAK)
Note on H35: (DAM_1_0_STANDARD)
Note on I35: (DAM_1_1_STANDARD)
Note on K35: (DAM_1_2_STANDARD)
Note on L35: (DAM_1_3_STANDARD)
Note on N35: (DAM_1_4_STANDARD)
Note on O35: (DAM_1_5_STANDARD)
Note on Q35: (DAM_1_6_STANDARD)
Note on R35: (DAM_1_7_STANDARD)
Note on H36: (DAM_2_0_PEAK)
Note on I36: (DAM_2_1_PEAK)
Note on K36: (DAM_2_2_PEAK)
Note on L36: (DAM_2_3_PEAK)
Note on N36: (DAM_2_4_PEAK)
Note on O36: (DAM_2_5_PEAK)
Note on Q36: (DAM_2_6_PEAK)
Note on R36: (DAM_2_7_PEAK)
Note on U36: (SUM_SPECIFIC_2)
Note on H37: (DAM_2_0_OFFPEAK)
Note on I37: (DAM_2_1_OFFPEAK)
Note on K37: (DAM_2_2_OFFPEAK)
Note on L37: (DAM_2_3_OFFPEAK)
Note on N37: (DAM_2_4_OFFPEAK)
Note on O37: (DAM_2_5_OFFPEAK)
Note on Q37: (DAM_2_6_OFFPEAK)
Note on R37: (DAM_2_7_OFFPEAK)
Note on H38: (DAM_2_0_STANDARD)
Note on I38: (DAM_2_1_STANDARD)
Note on K38: (DAM_2_2_STANDARD)
Note on L38: (DAM_2_3_STANDARD)
Note on N38: (DAM_2_4_STANDARD)
Note on O38: (DAM_2_5_STANDARD)
Note on Q38: (DAM_2_6_STANDARD)
Note on R38: (DAM_2_7_STANDARD)
Note on H39: (DAM_3_0_PEAK)
Note on I39: (DAM_3_1_PEAK)
Note on K39: (DAM_3_2_PEAK)
Note on L39: (DAM_3_3_PEAK)
Note on N39: (DAM_3_4_PEAK)
Note on O39: (DAM_3_5_PEAK)
Note on Q39: (DAM_3_6_PEAK)
Note on R39: (DAM_3_7_PEAK)
Note on U39: (SUM_SPECIFIC_3)
Note on H40: (DAM_3_0_OFFPEAK)
Note on I40: (DAM_3_1_OFFPEAK)
Note on K40: (DAM_3_2_OFFPEAK)
Note on L40: (DAM_3_3_OFFPEAK)
Note on N40: (DAM_3_4_OFFPEAK)
Note on O40: (DAM_3_5_OFFPEAK)
Note on Q40: (DAM_3_6_OFFPEAK)
Note on R40: (DAM_3_7_OFFPEAK)
Note on H41: (DAM_3_0_STANDARD)
Note on I41: (DAM_3_1_STANDARD)
Note on K41: (DAM_3_2_STANDARD)
Note on L41: (DAM_3_3_STANDARD)
Note on N41: (DAM_3_4_STANDARD)
Note on O41: (DAM_3_5_STANDARD)
Note on Q41: (DAM_3_6_STANDARD)
Note on R41: (DAM_3_7_STANDARD)
Note on T45: (SUM_DAM_CATEGORY_1)
Note on H51: (DAM_4_0_PEAK)
Note on I51: (DAM_4_1_PEAK)
Note on K51: (DAM_4_2_PEAK)
Note on L51: (DAM_4_3_PEAK)
Note on N51: (DAM_4_4_PEAK)
Note on O51: (DAM_4_5_PEAK)
Note on Q51: (DAM_4_6_PEAK)
Note on R51: (DAM_4_7_PEAK)
Note on U51: (SUM_SPECIFIC_4__)
Note on H52: (DAM_4_0_OFFPEAK)
Note on I52: (DAM_4_1_OFFPEAK)
Note on K52: (DAM_4_2_OFFPEAK)
Note on L52: (DAM_4_3_OFFPEAK)
Note on N52: (DAM_4_4_OFFPEAK)
Note on O52: (DAM_4_5_OFFPEAK)
Note on Q52: (DAM_4_6_OFFPEAK)
Note on R52: (DAM_4_7_OFFPEAK)
Note on H53: (DAM_4_0_STANDARD)
Note on I53: (DAM_4_1_STANDARD)
Note on K53: (DAM_4_2_STANDARD)
Note on L53: (DAM_4_3_STANDARD)
Note on N53: (DAM_4_4_STANDARD)
Note on O53: (DAM_4_5_STANDARD)
Note on Q53: (DAM_4_6_STANDARD)
Note on R53: (DAM_4_7_STANDARD)
Note on H54: (DAM_5_0_PEAK)
Note on I54: (DAM_5_1_PEAK)
Note on K54: (DAM_5_2_PEAK)
Note on L54: (DAM_5_3_PEAK)
Note on N54: (DAM_5_4_PEAK)
Note on O54: (DAM_5_5_PEAK)
Note on Q54: (DAM_5_6_PEAK)
Note on R54: (DAM_5_7_PEAK)
Note on U54: (SUM_SPECIFIC_5__)
Note on H55: (DAM_5_0_OFFPEAK)
Note on I55: (DAM_5_1_OFFPEAK)
Note on K55: (DAM_5_2_OFFPEAK)
Note on L55: (DAM_5_3_OFFPEAK)
Note on N55: (DAM_5_4_OFFPEAK)
Note on O55: (DAM_5_5_OFFPEAK)
Note on Q55: (DAM_5_6_OFFPEAK)
Note on R55: (DAM_5_7_OFFPEAK)
Note on H56: (DAM_5_0_STANDARD)
Note on I56: (DAM_5_1_STANDARD)
Note on K56: (DAM_5_2_STANDARD)
Note on L56: (DAM_5_3_STANDARD)
Note on N56: (DAM_5_4_STANDARD)
Note on O56: (DAM_5_5_STANDARD)
Note on Q56: (DAM_5_6_STANDARD)
Note on R56: (DAM_5_7_STANDARD)
Note on H57: (DAM_6_0_PEAK)
Note on I57: (DAM_6_1_PEAK)
Note on K57: (DAM_6_2_PEAK)
Note on L57: (DAM_6_3_PEAK)
Note on N57: (DAM_6_4_PEAK)
Note on O57: (DAM_6_5_PEAK)
Note on Q57: (DAM_6_6_PEAK)
Note on R57: (DAM_6_7_PEAK)
Note on U57: (SUM_SPECIFIC_6__)
Note on H58: (DAM_6_0_OFFPEAK)
Note on I58: (DAM_6_1_OFFPEAK)
Note on K58: (DAM_6_2_OFFPEAK)
Note on L58: (DAM_6_3_OFFPEAK)
Note on N58: (DAM_6_4_OFFPEAK)
Note on O58: (DAM_6_5_OFFPEAK)
Note on Q58: (DAM_6_6_OFFPEAK)
Note on R58: (DAM_6_7_OFFPEAK)
Note on H59: (DAM_6_0_STANDARD)
Note on I59: (DAM_6_1_STANDARD)
Note on K59: (DAM_6_2_STANDARD)
Note on L59: (DAM_6_3_STANDARD)
Note on N59: (DAM_6_4_STANDARD)
Note on O59: (DAM_6_5_STANDARD)
Note on Q59: (DAM_6_6_STANDARD)
Note on R59: (DAM_6_7_STANDARD)
Note on H60: (DAM_7_0_PEAK)
Note on I60: (DAM_7_1_PEAK)
Note on K60: (DAM_7_2_PEAK)
Note on L60: (DAM_7_3_PEAK)
Note on N60: (DAM_7_4_PEAK)
Note on O60: (DAM_7_5_PEAK)
Note on Q60: (DAM_7_6_PEAK)
Note on R60: (DAM_7_7_PEAK)
Note on U60: (SUM_SPECIFIC_7__)
Note on H61: (DAM_7_0_OFFPEAK)
Note on I61: (DAM_7_1_OFFPEAK)
Note on K61: (DAM_7_2_OFFPEAK)
Note on L61: (DAM_7_3_OFFPEAK)
Note on N61: (DAM_7_4_OFFPEAK)
Note on O61: (DAM_7_5_OFFPEAK)
Note on Q61: (DAM_7_6_OFFPEAK)
Note on R61: (DAM_7_7_OFFPEAK)
Note on H62: (DAM_7_0_STANDARD)
Note on I62: (DAM_7_1_STANDARD)
Note on K62: (DAM_7_2_STANDARD)
Note on L62: (DAM_7_3_STANDARD)
Note on N62: (DAM_7_4_STANDARD)
Note on O62: (DAM_7_5_STANDARD)
Note on Q62: (DAM_7_6_STANDARD)
Note on R62: (DAM_7_7_STANDARD)
Note on H63: (DAM_8_0_PEAK)
Note on I63: (DAM_8_1_PEAK)
Note on K63: (DAM_8_2_PEAK)
Note on L63: (DAM_8_3_PEAK)
Note on N63: (DAM_8_4_PEAK)
Note on O63: (DAM_8_5_PEAK)
Note on Q63: (DAM_8_6_PEAK)
Note on R63: (DAM_8_7_PEAK)
Note on U63: (SUM_SPECIFIC_8__)
Note on H64: (DAM_8_0_OFFPEAK)
Note on I64: (DAM_8_1_OFFPEAK)
Note on K64: (DAM_8_2_OFFPEAK)
Note on L64: (DAM_8_3_OFFPEAK)
Note on N64: (DAM_8_4_OFFPEAK)
Note on O64: (DAM_8_5_OFFPEAK)
Note on Q64: (DAM_8_6_OFFPEAK)
Note on R64: (DAM_8_7_OFFPEAK)
Note on H65: (DAM_8_0_STANDARD)
Note on I65: (DAM_8_1_STANDARD)
Note on K65: (DAM_8_2_STANDARD)
Note on L65: (DAM_8_3_STANDARD)
Note on N65: (DAM_8_4_STANDARD)
Note on O65: (DAM_8_5_STANDARD)
Note on Q65: (DAM_8_6_STANDARD)
Note on R65: (DAM_8_7_STANDARD)
Note on H66: (DAM_9_0_PEAK)
Note on I66: (DAM_9_1_PEAK)
Note on K66: (DAM_9_2_PEAK)
Note on L66: (DAM_9_3_PEAK)
Note on N66: (DAM_9_4_PEAK)
Note on O66: (DAM_9_5_PEAK)
Note on Q66: (DAM_9_6_PEAK)
Note on R66: (DAM_9_7_PEAK)
Note on U66: (SUM_SPECIFIC_9__)
Note on H67: (DAM_9_0_OFFPEAK)
Note on I67: (DAM_9_1_OFFPEAK)
Note on K67: (DAM_9_2_OFFPEAK)
Note on L67: (DAM_9_3_OFFPEAK)
Note on N67: (DAM_9_4_OFFPEAK)
Note on O67: (DAM_9_5_OFFPEAK)
Note on Q67: (DAM_9_6_OFFPEAK)
Note on R67: (DAM_9_7_OFFPEAK)
Note on H68: (DAM_9_0_STANDARD)
Note on I68: (DAM_9_1_STANDARD)
Note on K68: (DAM_9_2_STANDARD)
Note on L68: (DAM_9_3_STANDARD)
Note on N68: (DAM_9_4_STANDARD)
Note on O68: (DAM_9_5_STANDARD)
Note on Q68: (DAM_9_6_STANDARD)
Note on R68: (DAM_9_7_STANDARD)
Note on H69: (DAM_10_0_PEAK)
Note on I69: (DAM_10_1_PEAK)
Note on K69: (DAM_10_2_PEAK)
Note on L69: (DAM_10_3_PEAK)
Note on N69: (DAM_10_4_PEAK)
Note on O69: (DAM_10_5_PEAK)
Note on Q69: (DAM_10_6_PEAK)
Note on R69: (DAM_10_7_PEAK)
Note on U69: (SUM_SPECIFIC_10__)
Note on H70: (DAM_10_0_OFFPEAK)
Note on I70: (DAM_10_1_OFFPEAK)
Note on K70: (DAM_10_2_OFFPEAK)
Note on L70: (DAM_10_3_OFFPEAK)
Note on N70: (DAM_10_4_OFFPEAK)
Note on O70: (DAM_10_5_OFFPEAK)
Note on Q70: (DAM_10_6_OFFPEAK)
Note on R70: (DAM_10_7_OFFPEAK)
Note on H71: (DAM_10_0_STANDARD)
Note on I71: (DAM_10_1_STANDARD)
Note on K71: (DAM_10_2_STANDARD)
Note on L71: (DAM_10_3_STANDARD)
Note on N71: (DAM_10_4_STANDARD)
Note on O71: (DAM_10_5_STANDARD)
Note on Q71: (DAM_10_6_STANDARD)
Note on R71: (DAM_10_7_STANDARD)
Note on H72: (DAM_11_0_PEAK)
Note on I72: (DAM_11_1_PEAK)
Note on K72: (DAM_11_2_PEAK)
Note on L72: (DAM_11_3_PEAK)
Note on N72: (DAM_11_4_PEAK)
Note on O72: (DAM_11_5_PEAK)
Note on Q72: (DAM_11_6_PEAK)
Note on R72: (DAM_11_7_PEAK)
Note on U72: (SUM_SPECIFIC_11__)
Note on H73: (DAM_11_0_OFFPEAK)
Note on I73: (DAM_11_1_OFFPEAK)
Note on K73: (DAM_11_2_OFFPEAK)
Note on L73: (DAM_11_3_OFFPEAK)
Note on N73: (DAM_11_4_OFFPEAK)
Note on O73: (DAM_11_5_OFFPEAK)
Note on Q73: (DAM_11_6_OFFPEAK)
Note on R73: (DAM_11_7_OFFPEAK)
Note on H74: (DAM_11_0_STANDARD)
Note on I74: (DAM_11_1_STANDARD)
Note on K74: (DAM_11_2_STANDARD)
Note on L74: (DAM_11_3_STANDARD)
Note on N74: (DAM_11_4_STANDARD)
Note on O74: (DAM_11_5_STANDARD)
Note on Q74: (DAM_11_6_STANDARD)
Note on R74: (DAM_11_7_STANDARD)
Note on T86: (SUM_DAM_CATEGORY_2.1)
Note on T97: (SUM_DAM_CATEGORY_2.2)
Note on D101: (SUM_PEAK)
Note on D102: (SUM_OFFPEAK)
Note on D103: (SUM_STANDARD)
Note on D104: (SUM_TOTAL)